  - IRRIGATION COMPONENTS AND/OR SYSTEMS

        - Description:  The Rain BirdTM IQ-CloudTM v3.0 Central Control System or other devices as necessary

        - Rain BirdTM IQ-CloudTM v3.0 Central Control System specifications include but are not limited to:

              - The system shall be fully programmable, providing the operator with full control of the entire control system.

              - The system shall be capable of controlling all system functions from any Internet connected computer, tablet, or smart phone that could be completed at the physical satellite controller.

              - The system shall have a Windows® graphical user interface (GUI) that allows programming and a graphical depiction of the satellite controller programming.

              - The system shall have modular satellite controller capacity and features.

              - The cloud based software shall have the capacity to connect and manage 16,000+ satellite controllers per system.

              - The system shall be compatible with Rain BirdTM ESP-LXME and ESP-LXMEF series traditionally-wired satellite controllers with 1 to 48 station capacity.

                - Shall be able to control 12,288 ESP-LXME and ESP-LXMEF traditionally wired satellite controller stations per site.

                - Rain BirdTM ESP-LXME and ESP-LXMEF satellites shall be capable of running up to 5 simultaneous stations.

                - Each Server Satellite shall be capable of connecting to 255 Client Satellites for a total of 256 satellites per site.

                - The maximum number of simultaneous stations per site for the ESP-LXME and ESP-LXMEF shall be 1,280.

              - The system shall be compatible with Rain BirdTM ESP-LXD series 2-wire decoder satellite controllers with 1 to 200 station capacity.

                - Shall be able to control 51,200+ ESP-LXD station/decoders addresses per site.

                - Rain BirdTM ESP-LXD shall be capable of running up to 8 simultaneous stations.

                - The maximum number of simultaneous ESP-LXD stations per site shall be 2,048.

              - The system shall be capable of combining any combination of Rain BirdTM ESP-LXME, ESP-LXMEF, and ESP-LXD satellite controllers on an individual site or across sites.

              - The system shall have the capacity to control 999 sites per system.

              - The system shall have an adjustable satellite controller capacity allowing the customer to expand the system capacity over time.

              - The system shall allow individual log-on credentials (user name and password) to administer access privileges to multiple users of the system. Each user can be assigned Administer or User privileges as well as control access to individual sites.

              - The cloud system, controllers, and communication cartridges shall have the ability to be programmed and operated in any one of six languages:

                - English

                - Spanish

                - French

                - German

                - Italian

                - Portuguese

              - The system shall have user configurable formats for date, time, number, and units formats.

              - The system shall allow virtual site configurations, allowing the user to group satellite controllers into a site to simplify common adjustments.

              - The system shall incorporate a satellite controller Dry-RunTM feature that graphically depicts the following program operation features:

                - User selected Dry-Run time from 1 to 30 days

                - Minute-by-minute program activity

                - Minute-by-minute expected flow rates

                - Programs/stations operating at any point in time.

                - The order in which stations irrigate and which stations will be simultaneously run together.

                - The estimated satellite total flow used during the Dry-Run time period

              - The system shall incorporate program adjust values for each satellite controller program.

              - The system shall include a site-level daily or monthly seasonal adjust percentage

                - Shall adjust the station run times for all satellite controllers in the site.

              - The system shall also offer site-level daily or monthly ET value adjustments as an alternative to seasonal adjustment percentage.

- The system shall utilize IQNCC Network Communication Cartridges to interface with the system controllers.

              - The cartridges shall be available with internal Cellular or Ethernet  primary communication modems, or an RS-232 model for IQNet™ communication cable or radio secondary communication.

                - A Setup Wizard in the user interface shall allow the user to configure satellite controller as a Direct, Server, or Client Satellite.

              - The Server satellite shall share its IQ central computer communication link with up to 255 Client satellites and be capable of sharing weather sensors and master valves amongst the 256 satellite controllers.

              - The system shall incorporate a Auto Configuration Utility that contacts the satellite controller and shall:

                - Report the hardware configuration and retrieve the configuration and programming data

                - Report any learned flow rates the controller may have.

                - Verify the satellite hardware configuration has not changed each time it contacts the satellite controller.

              - The controller and IQNCC cartridge firmware shall be upgradeable (reflashed) from the cloud system.

              - The software shall be capable of manually starting a program, test a program, or station(s) on any satellite controller.

              - The software shall be capable of overriding the satellite controller Auto/Off dial position and Weather Sensor Active/Bypass switch position.

              - Satellite controllers equipped with flow sensors shall provide a learn flow utility to measure the nominal flow rate of each station.

                - The satellite controllers shall come with FloWatchTM.

                - FloWatchTM shall provide protection for high and low flow conditions with user defined reactions.

                - The learn flow rate shall be compared to the actual flow sensor flow rate each time the station operates.

                - A user defined percentage above and below the learned flow rate shall be used to determine if the flow rate is problematic.

                - User defined automatic reactions shall be programmable including a diagnose mode where the cause of the problem flow rate is identified and the problem station or water source is shut off.

              - A manual master valve water window shall be provided to automatically open the master valve and account for manual watering flow rates without turning off the flow sensing functions of the satellite controller.

                - Both normally closed and open master valves shall be supported.

              - All flow sensing features shall be programmable through the cloud system.

              - The cloud system shall offer the following water window management features.

                - The system shall offer user definable station-level priorities and program-level water windows.

                - Stations are selected to operate based on their priority with high priority stations operating first.

                - The station operation shall be paused and resumed at the start of the next water window if a program cannot complete the run time of all stations in the water window.

                - The system shall provide user definable number of simultaneous station to operate per program and for the whole satellite controller.

                - The system shall offer FloManager flow management functions to optimize simultaneous station operation and water source capacity.

                - The FloManager shall automatically select combinations of stations to operate to fully utilize the user defined water source capacity without exceeding the capacity.

                - The combination of these features shall be used to automatically shorten the overall operating time of the satellite controller and provide a more constant demand on pump systems.

              - The cloud system shall offer the following user configurable communication features.

                - Automatic Synchronization, Reverse Synchronization, and Retrieve Logs communication connection times.

                - Automatic weather source data collection times.

                - Automatic email report send times for Alarms & Warnings, Station Run Time and Flow, Satellite Changes, and PIN Code Reports.

              - The cloud system shall offer the following water conservation features.

                - Shall be compatible with the following weather sources: Rain Bird™ WSPROLT and WSPRO2 Weather Stations; California CIMIS Weather Station Network; IQ Global Weather Internet Weather Service.  Weather sources shall be assigned by individual satellite controller.

                - Management Allowed Depletion or Daily ET Replacement automatic weather based adjustment options provide automatic day cycle and station run time adjustments.

                - Plant Available Water shall be automatically calculated from user entered values for plant type, soil type and plant root depth.

                - A Station Run Time Calculator shall be provided to automatically calculate the individual station run times based on user configured inputs for irrigation device, operating pressure, spacing, uniformity, etc.  A copy feature shall be provided to copy calculated values to like stations.

                - An ET Checkbook for each program shall track current calculated soil moisture levels and automatically perform a 7-day look-ahead to calculate future irrigation requirements.

                - Station Cycle+Soak times shall be automatically calculated based on user defined soil type and slope percentage.

              - The cloud system shall provide the following user access features.

                - Shall provide satellite controller PIN-Codes to prevent unauthorized personnel from making programming changes at the satellite controllers.

                - Each satellite shall have up to 5 assigned PIN-codes.

                - The satellite PIN-Code Protection shall be a 4-digit PIN-Code.

                - PIN-Code options shall include full or partial lockout.

                - All PIN-codes shall be programmed through the software.

                - Changes made at the satellite shall be able to be automatically retrieved to allow the operator to view and accept or reject the changes in the cloud system.

                - The user shall be able to view a list of site personnel who have accessed the cloud system and each satellite with date and time access information.

              - The cloud system shall have the following flow sensing and management features.

                - Shall provide minute-by-minute flow logs in a graph comparing actual flow and projected flow.

                - Shall retrieve minute-by-minute flow logs from flow sensor equipped Rain BirdTM ESP-LXMEF and Rain BirdTM ESP-LXD satellite controllers.

                - Station flow rates shall be learned by the Learn Flow Utility. Learned station flow rates shall be used for FloWatch and FloManager.

                - Shall automatically compare real-time flow rates to learned flow rates.

                - Shall automatically diagnose problem flows to determine whether they are caused by a break in a main line or lateral line.

                - Shall produce Flow Logs vs. Projected Flow Graphical Report identifying which programs and stations are running at any point in time.

                - Shall automatically close the master valve or individual station valve to isolate the problem.

                - Actual flow totals shall be added to the satellite station run time report, included in the automated email reports.

                - Shall be able to monitor and automatically react to high or low flow conditions using site flow sensors.

              - The system shall include a context-sensitive help system.

              - The IQ v3.0 Central Control System™ shall be as manufactured by Rain BirdTM Corporation.

        - Rain BirdTM IQTM v3.0 Central Control Hardware system specifications include but are not limited to:

              - The hardware shall utilize IQNCC Network Communication Cartridges to interface between the system controllers and the Rain BirdTM IQ-CloudTM v3.0 system.

              - The cartridge shall be designed to install Rain BirdTM ESP-LXME, Rain BirdTM ESP-LXMEF and Rain BirdTM ESP-LXD Series controller faceplate.

                - No tools shall be required for the communication cartridge installation.

                - The communication cartridge shall receive power through a ribbon cable connection to the controller front panel.

              - The communication cartridge shall be configured and monitored through a dedicated dial position on the controller front panel.

                - In this dial position the communication cartridge shall be in control of the controller display and user interface softkeys.

              - The user interface shall include a setup wizard to guide the user through the required configuration settings.

              - The communication cartridge shall be user configurable as a Direct, Server, or Client satellite controller.

              - The communication cartridge shall incorporate three communication ports to communicate with the cloud as well as communicate with other communication cartridge equipped controllers via high-speed data cable and/or radio communication.

              - The communication cartridge shall incorporate status lights (LEDs) showing the real-time status of the cartridge communication ports.

              - The controller shall be configured as a Direct, Server, or Client Satellite with the cartridge installed.

              - Single controller sites shall use an IQNCC cartridge configured as a Direct satellite.

                - A Direct satellite shall have an IQ central computer communication connection but no shared connections to other satellites on the site.

                - Communication cartridges configured as a Direct satellite shall communicate directly with the cloud system via the primary (IQ) communication port.

                - Configuring the communication cartridge as a Direct satellite shall disable the IQNet™ high-speed data cable (CM) and radio (Radio) secondary communication ports.

              - Multi-controller sites shall be able to use one IQNCC cartridge configured as a Server satellite and the other IQNCC cartridges configured as Client satellites.

              - The Server satellite has an IQ-Cloud primary communication connection and shares this communication connection with the Client satellites though IQNet™ high-speed data cable or radios secondary communication.

              - The communication connection between Server and Client satellites shall be called the IQNet™.

                - The IQNet™ communication shall be radio and/or high-speed data cable from the server satellite to the various client satellites.

                - The IQNet™ communication shall have the capability to mix-and-match between radio and hardwire clients.

              - Server and Client satellites using high-speed data cable for IQNet™ communication require installation of IQCM Communication Modules.

                - IQFSCMLXME Flow Smart Connection Module for the ESP-LXME and ESP-LXMEF series controllers.

                - IQCMLXD Connection Module for the ESP-LXD series controllers.

              - Server and Client satellites using radio communication for IQNet™ communication require installation of IQSSRADIO or RBSSTN9B 900MHz radios.

              - Satellites on a common IQNet™ can share weather sensors and master valves.

              - Communication cartridges configured as a Server satellite shall communicate directly with the cloud system via the primary (IQ) communication port.

                - Configuring the communication cartridge as a Server satellite shall allow the IQNet™ high-speed data cable (CM) and radio (Radio) communication ports to be enabled for communication with Client satellite controllers.

                - A single Server satellite shall be capable of networking up to 255 Client satellites across the IQNet™ network.

              - Communication cartridges configured as a Client satellite shall communicate via the IQNet™ network with a Server satellite.

                - The Client satellite shall not have direct communication with the cloud system but shall instead use the Server satellite IQ port connection.

                - Client satellite primary (IQ) communication port shall be disabled.

              - Satellite controllers on a single IQNet™ network can share up to 8 master valves and 32 weather sensors.

              - Master valves and weather sensors shall be shared across ESP-LXME and ESP-LXMEF traditionally-wired and ESP-LXD 2-wire satellite controllers.

              - The cartridges shall be available with internal Cellular or Ethernet modems for primary (IQ port) communication or the RS-232 model can be used for client satellite IQNet™ secondary high-speed data communication cable (CM port) or radio (Radio port) communication.

                - IQNCC communication cartridges with internal Cellular and Ethernet modems shall utilize static IP addresses for communication with the cloud system.

                - IQNCC Ethernet cartridge network configuration shall be configured with the NCC Configurator Software Utility via cable connections.

                - IQNCC Ethernet cartridges can be used with a Wireless Bridge for Wi-Fi communication.

              - The Rain BirdTM IQFSCMLXME Flow Smart Connection Module shall provide IQNet™ high-speed data cable connections for the ESP-LXME and ESP-LXMEF satellite controllers.

                - Shall include a Flow Smart Module and Base Module functions.

                - Shall replace the standard ESP-LXME or ESP-LXMEF Base Module.

              - The Rain BirdTM IQCMLXD Connection Module shall provide IQNet™ high-speed data cable connections for the ESP-LXD satellite controllers.

                - Shall be installed in ESP-LXD 0 (zero) module slot.

              - The Rain BirdTM IQSSRADIO or RBSSTN9B Radio Modem shall provide IQNet™ wireless radio communication between Server and Client satellite controllers.

                - Shall be used with the IQNCCRS RS232 communication cartridge

                - Shall include a power supply.

                - Antenna type determined by radio site survey.

                - Radios shall be programmable as Master, Remote, or Extension (repeater). The system shall allow up to 5 Extension radios to be used between the Master and Remote radios.

              - The Rain BirdTM IQ3G-USA Cellular Cartridge shall include an embedded 3G Cellular Data Modem with an antenna connector.

                - Shall include an internal antenna for plastic controller enclosures.

                - The optional IQEXTANTGP external antenna shall be available for metal case controller enclosures.

                - Shall include a pre-configured Cellular SIM card and 1-year of Cellular data service.

                - Used for Direct or Server satellite applications requiring wireless Cellular communication with the IQ-Cloud system.

              - The Rain BirdTM IQNCCEN Ethernet Cartridge shall include an embedded Ethernet Network Modem with RJ-45 port.

                - Shall include a RJ-45e patch cable.

                - Shall require a LAN network static IP address.

                - Shall be used with a Wireless Bridge for Wi-Fi communication.

                - Shall be used for Direct or Server satellite applications requiring Ethernet LAN network communication with the IQ-Cloud system.

              - The Rain BirdTM IQNCCRS RS232 Cartridge shall include a RS-232 Port for Client satellite IQNet secondary high-speed data communication cable (CM port) or radio (Radio port) communication.

                - Shall be used with CM Connection Modules for Client Satellite applications requiring IQNet™ high-speed data cable communication with the Server Satellite.

                - Shall be used with IQSSRADIO or RBSSTN9B Radios for Client Satellite applications requiring IQNet™ wireless communication with the Server Satellite.

              - Server and Client satellite controllers shall utilize a Connection Module to connect to the IQNet™ via high-speed data cable.

                - The Connection Module shall be controlled by the cartridge CM port.

                - Connection Modules shall provide quick connect terminals for connection to the 2 communication conductors as well as ground.

              - Server and Client satellite controllers shall utilize a 900MHz Frequency Hopping Spread Spectrum Digital Radio Modems for wireless communication on the IQNet™.

                - The radio shall be controlled by the cartridge Radio port.

                - A connector cable to interconnect the cartridge and radio shall be supplied with the cartridge.

              - The cloud system shall be capable of upgrading (reflashing) the communication cartridge firmware through the IQ communication port.

                - New features shall be implemented into the cartridge without the need to replace the existing communication cartridges.

              - The communication cartridge shall keep a log of all controller and IQNet™ activity for upload to the cloud system.

              - The IQ v3.0 Central Control System™ shall be as manufactured by Rain BirdTM Corporation.

        - Rain BirdTM IQTM v3.0 Central Control flow sensing system specifications include but are not limited to:

              - The Rain BirdTM flow sensing system shall be configurable to the following systems:

                - Rain BirdTM IQ-CloudTM v3.0 Central Control Systems

                - Rain BirdTM ESP-LXME and ESP-LXMEF series traditionally-wired controllers

                - Rain BirdTM  ESP-LXD series 2-wire decoder controllers

                - Rain BirdTM FS-series flow sensors

              - Rain BirdTM flow sensing system shall include FloWatch™.

                - FloWatch™ shall constantly monitors the flow sensor for low flow and excess flow conditions caused by broken lines or heads.

                - FloWatch™ shall automatically quarantine and shut down the problem area(s) and continue to irrigate non affected areas.

              - The flow sensing system shall use the FS-series flow sensors to provide a learn flow utility to measure the nominal flow rate of each station.

                - The controller has the ability to automatically learn station flow rates.

                - The learn flow rate shall be compared to the actual flow sensor flow rate each time the station operates.

                - A user defined percentage above and below the learned flow rate shall be used to determine if the flow rate is problematic. The software shall allow the user to increase or decrease the length of time of a flow event before the controller reacts.

                - User defined reactions shall be programmable including a diagnose mode where the cause of the problem flow rate is identified and the problem station or water source is shut off.

              - Rain BirdTM flow sensing system shall incorporate FloManager®.

                - The FloManager® shall provide real-time flow, power, and station management.

                - The FloManagerTM shall manage the number of stations operating at any point in time based on water source capacity, station flow rate, station module assignment, number of valves per station, station priorities, and user defined simultaneous stations per program and for the controller.

                - The FloManager® shall determine the optimal station irrigating sequence.

                - The system shall run at its fullest capacity until all programs are complete.

                - The controller shall automatically select and run multiple valves at the same time within hydraulic parameters allowing for shorter water windows.

                - Flow rates may be manually measured and entered into the controller to utilize FloManager® functionality.

              - The flow sensing system shall be compatible with the Rain BirdTM ESP-LXMEF series traditionally-wired controllers with 1 to 48 station capacity.

                - Pulse transmitter and decoders shall not be required with traditionally-wired controllers.

              - The flow sensing system shall be compatible with Rain BirdTM ESP-LXD series 2-wire decoder controllers with 1 to 200 station capacity.

                - Rain BirdTM Two-Wire Sensor Decoder model SD210TURF shall be required to interface flow sensors to the 2-wire decoder system.

                - The SD210TURF line surge protector ground wires shall be connected to a grounding rod or plate system with 10 Ohms or less resistance to ground.

              - The flow sensors system models include but are not limited to:

                - Rain BirdTM FS100B Flow Sensor

                - Rain BirdTM FS150B Flow Sensor

                - Rain BirdTM FS200B Flow Sensor

                - Rain BirdTM FS100P Flow Sensor

                - Rain BirdTM FS150P Flow Sensor

                - Rain BirdTM FS200P Flow Sensor

                - Rain BirdTM FS300P Flow Sensor

                - Rain BirdTM FS400P Flow Sensor

                - Rain BirdTM FS350B Flow Sensor

                - Rain BirdTM FS350SS Flow Sensor

              - The Rain BirdTM FS100B Flow Sensor or Rain BirdTM FS150B Flow Sensor specifications include but are not limited to:

                - The flow sensor shall be an in line type with a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The paddle wheel shall be a six-bladed impeller design.

                - The flow sensor shall be designed for outdoor or underground applications.

                - The electronics housing shall be glass-filled PPS.

                - The impeller shall be glass-filled nylon or Tefzel® with a UHMWPE or Tefzel sleeve bearing.

                - The shaft material shall be tungsten carbide.

                - The electronics housing shall have two, ethylenepropylene O-Rings and shall be easily removed from the meter body.

                - The sensor electronics shall be potted in an epoxy compound designed for prolonged immersion.

                - Electrical connections shall be 2 single conductor 18 AWG leads 48 inches (1,2 meters) long.

                - Insulation shall be direct burial “UF” type colored red for the positive lead and black for the negative lead.

                - The sensor shall be capable of operating in line pressures up to 400 psi (27,5 bars).

                - The sensor shall be capable of operating in liquid temperatures up to 220° F (105°C).

                - The sensor shall be capable of operating in flows of ½ foot (0,15 meters) per second to 15 feet (4,5 meters) per second with linearity of ±1% and repeatability of ±1%.

                - The meter body shall be cast 85-5-5-5 bronze, in 1” (25 mm) and 1½” (40 mm) , female iron pipe thread sizes.

                - The FS100B Flow Sensor and FS150B Flow Sensor shall be as manufactured by Rain BirdTM Corporation.

              - The Rain BirdTM FS200B Flow Sensor specifications include but are not limited to:

                - The flow sensor shall be an insertion type with a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The paddle wheel shall be a six-bladed impeller design.

                - The flow sensor shall be designed for outdoor or underground applications.

                - The sensor sleeve shall be bronze, with the sensor housing being PPS.

                - The sensor shall be mounted in a 2” malleable bronze tee.

                - The sensor shall be a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The impeller shall be glass-filled nylon with a UHMWPE sleeve bearing.

                - The shaft material shall be tungsten carbide.

                - The sensor electronics will be potted in an epoxy compound designed for prolonged immersion.

                - Electrical connections shall be 2 single conductor 18 AWG leads 48 inches long, U.L Style type PTLC wire.

                - The sensor shall operate in line pressures up to 200 psi.

                - The sensor shall operate in liquid temperatures up to 100° F.

                - The sensor shall be capable of operating in flows of ½ foot per second to 30 feet per second with accuracy of ± 1% of full scale and repeatability of ± 0.3%.

                - The FS200B Flow Sensor shall be as manufactured by Rain BirdTM Corporation.

              - The Rain BirdTM FS100P Flow Sensor specifications include but are not limited to:

                - The flow sensor shall be an in line type with a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The paddle wheel shall be a six-bladed impeller design.

                - The flow sensor shall be designed for outdoor or underground applications.

                - The impeller shall be made of 300SST with a UHMWPE sleeve bearing.

                - The shaft material shall be tungsten carbide.

                - The electronics housing shall be made of PPS.

                - The electronics housing shall have two EPDM O-Rings and shall be easily removed from the meter body.

                - The sensor electronics will be potted in an epoxy compound designed for prolonged immersion with 2-conductor, 18AWG solid copper wire leads extending from the top of the sensor.

                - The sensor shall operate inline pressures up to 150 psi at liquid temperatures up to 73° F, or up to 75 PSIG at liquid temperatures up to 110° F.

                - The sensor shall operate in flows of 2 foot per second to 20 feet per second with linearity of ± 3% and repeatability of ± 1.5%.

                - The flow sensor shall generate a frequency which is proportional to flow rate.

                - The meter body shall be fabricated from Schedule 40 PVC Tees, Type 1, white, available in ½”, ¾”, and 1” solvent weld socket end connections.

                - The FS100P Flow Sensor shall be as manufactured by Rain BirdTM Corporation.

              - The Rain BirdTM FS150P, Rain BirdTM FS200P, Rain BirdTM FS300P and Rain BirdTM FS400P Flow Sensor specifications include but are not limited to:

                - The flow sensor shall be an in-line type with a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The paddle wheel shall be a six-bladed impeller design.

                - The flow sensor shall be designed for outdoor or underground applications.

                - The electronics housing shall be glass-filled PPS.

                - The impeller shall be glass-filled nylon or Tefzel with a UHMWPE or Tefzel sleeve bearing.

                - The shaft material shall be tungsten carbide.

                - The electronics housing shall have two, ethylenepropylene O-Rings and shall be easily removed from the meter body.

                - The sensor electronics will be potted in an epoxy compound designed for prolongs immersion.

                - Electrical connections shall be 2 single conductor 18 AWG leads 48 inches (1,2 meters) long.

                - Insulation shall be direct burial “UF” type colored red for the positive lead and black for the negative lead.

                - The sensor shall be capable of operating in line pressure up to 100 psi (6.9 bars).

                - The sensor shall be capable of operating in liquid temperatures up to 140° F (60° C).

                - The sensor shall be capable operating in flows of 1⁄2 foot (0,15 meters) per second to 30 feet (9,2 meters) per second with linearity of ±1% and repeatability of ±1%.

                - The meter body shall be fabricated from Schedule 80 PVC Tees, available in 1-1⁄2”, 2”, 3”, and 4” (25mm, 40mm, 50mm,75mm, and 110mm) with socket end connections.

                - The FS150P, FS200P, FS300P and FS400P Flow Sensor shall be as manufactured by Rain BirdTM Corporation.

              - The Rain BirdTM FS350B and Rain BirdTM FS350SS Flow Sensor specifications include but are not limited to:

                - The flow sensor shall be an insertion type with a nonmagnetic, spinning impeller (paddle wheel) as the only moving part.

                - The paddle wheel shall be a six-bladed impeller design.

                - The flow sensor shall be designed for outdoor or underground applications.

                - The sensor sleeve will be brass (or 316 stainless steel) with the sensor housing being PPS.

                - The impeller shall be glassfilled nylon or Tefzel with a UHMPWE or Tefzel sleeve.

                - The shaft material shall be tungsten carbide.

                - The sensor will be supplied with a 2” (50mm) NPT adapter for installation into any commercially available weld-on fitting or pipe saddle.

                - The adapter shall have two, ethylenepropylene O-Rings.

                - The sensor electronics will be potted in an epoxy compound designed for prolonged immersion.

                - Electrical connections shall be 2 single conductor 18AWG leads 48 inches (1,2 meters) long.

                - Insulation shall be direct burial “UF” type colored red for the positive lead and black for the negative lead.

                - Insertion of the sensor into any pipe size shall be 11⁄2” (40mm) from the inside wall to the end of the sensor housing.

                - The sensor shall be capable of operating in line pressures up to 400 psi (27,5 bars).

                - The sensor shall be capable of operating in liquid temperatures up to 220° F (105°C).

                - The sensor shall be capable of operating in flows of 1⁄2 foot (0,15 meters) per second to 30 feet (9,2 meters) per second.

                - The FS350B and FS350SS Flow Sensor shall be as manufactured by Rain BirdTM Corporation.