  - IRRIGATION COMPONENTS AND/OR SYSTEMS

        - Description:  Irrigation controller or other devices as necessary.

        - Irrigation controller specifications include but are not limited to:

          - The controller shall be of a hybrid type that is microelectronic circuitry capable of fully automatic or manual operation.

          - The controller shall be housed in a wall-mountable, weather resistant plastic cabinet with a key-locking cabinet door suitable for indoor or outdoor installation.

          - The controller shall be a two-wire path decoder based control system.

            - The controller shall use the same decoder hardware as other specific controllers.

            - Output power for the decoders shall be adjustable from the controller

            - Inrush and holding current values shall be adjustable from the controller.

          - The controller shall have the ability to be programmed and operated in any one of six languages:

            - English

            - Spanish

            - French

            - German

            - Italian

            - Portuguese

          - The display shall show programming options and operating instructions in the chosen language without altering the programming or operation information.

          - The controller shall have user configurable formats for date, time, and units.

          - The controller shall have incorporated a base station module capacity of 50 stations as well as two additional expansion slots capable of receiving station modules to create a controller capacity of 200 stations.

            - Each expansion module shall be able to increase controller capacity up to 75 additional stations.

            - Modules shall be hot swappable and can be installed while in operation with the dial in any position and in any open module slot.

          - All stations shall have the capability of independently obeying or ignoring the weather sensor as well as using or not using the master valve.

            - The controller shall have a weather sensor override switch.

          - The weather sensors shall include but are not limited to:

            - Rain/Freeze sensor to respond to rainfall and cold temperatures

            - Rain sensor for monitoring rainfall

            - Anemometer to provide site-specific wind speed measurements with additional pulse monitor.

            - The controller shall be compatible with a control device that enables weather-based management for the irrigation controller.

          - Station timing shall be from 0 minutes to 12 hours.

          - The controller shall have a seasonal adjustment feature adjustable from 0% to 300% in increments of 1%.

            - Seasonal adjustments shall be adjusted by each individual program.

          - The controller shall also have a monthly seasonal adjustment feature adjustable from 0% to 300% by month in increments of 1%.

          - Station timing with seasonal adjustment shall be from 1 second to 16 hours.

          - The controller shall have 4 separate and independent programs which can have different start time, start day cycles and station run times.

            - Each program shall have up to 8 start times per day for a total of 32 possible start times per day.

            - The programs shall be allowed to overlap operations based on user-defined settings which control the number of simultaneous stations per program and total for the controller.

          - The controller shall come standard with a feature which allows the user to define up to eight 24 VAC, 7VA solenoid valves to operate simultaneously per program and total for the controller, including the master valve/pump start circuit.

          - The controller shall have the capability of having a normally open or closed master valve programmable by station.

          - The controller shall have a programmable station delay by program to allow for water well recovery or slow closing valves.

          - The controller shall have an electronic, diagnostic circuit breaker that shall sense a station with an electrical overload or short circuit and shall bypass that station and continue operating all other stations.

          - The controller shall have a 365-day calendar with leap year intelligence.  The leap year intelligence allows the use of “Odd” or “Even” day watering schedule without changing the date on leap years.

            - The calendar shall include a permanent day off feature that allows a day(s) of the week to be turned OFF on any cycle (Custom/Odd/Odd31, and Cyclical).

          - A day set to “Permanent Off” shall override the normal repeating schedule and not water on the specified day(s) of the week.

          - The controller shall also have a calendar day off feature allowing the user to select up to 5 dates up to 365 days in the future when the controller shall not start programs.

          - The controller shall incorporate a rain delay feature allowing the user to set the number of days the controller should remain off before automatically returning to the automatic operation mode.

          - The controller shall have a cycle and soak water management software which is capable of operating each station for a maximum cycle time and a minimum soak time to reduce water run-off.

            - The maximum cycle time shall not be extended by seasonal adjustments.

          - The controllers default operation shall be by station number.

          - The controller shall provide an option to assign station priorities to determine the order in which stations shall operate.

            - The controller shall ignore the station number sequence and instead operate the highest priority stations first and the lower priority stations last.  Station priorities will be utilized by the flow manager feature if the flow manager feature is enabled.

          - The controller shall offer a water window for each program

            - The water window function sets the allowed start and stop time where watering is allowed.

            - If watering cannot be completed by the time the water window closes, the stations with the remaining time are paused and watering automatically resumes when the next water window opens.

          - The controller shall incorporate a flow manager feature that shall provide real-time flow, power, and station management.

            - The flow manager shall manage the number of stations operating at any point in time based on water source capacity, station flow rate, number of valves per station, station priorities, and user defined simultaneous stations per program and for the controller.

          - The controller shall offer a flow sensor module option which adds flow sensing functionality.

            - The flow sensor module input shall accept a sensor decoder input from 1-5 flow sensors with no flow scaling device required.

          - The flow sensor module shall include a flow utility which learns the normal flow rates of each station.

            - Each time a station runs the flow utility shall compare the current real-time flow rate to the learned rates and take user defined actions if high flow, low flow, or no flow is detected.

            - The flow utility shall automatically determine the location of the flow problem and isolate the problem by turning off the affected station or master valve.

            - The flow utility shall be compatible with both normally closed and open master valves.

            - The flow utility shall manage hydraulic demand, making full use of available water.

          - A manual master valve water window shall be provided to coordinate daytime manual watering with the flow sensing.

          - The water windows shall offer programmable days of the week and manual watering additional flow rate.

          - The controller shall have an alarm indicator light with an external case lens on the front panel visible through the outer door with the door closed and locked.

            - The alarm light shall prompt the user to select the alarm softkey to review the alarm condition(s).

          - The controller shall be compatible with a specified central control system utilizing specialized network communication cartridges.

            - The cartridge shall provide communication with the central control computer and other controllers via a variety of communication options (Direct Connect Cable, Phone, GPRS/Cellular, Ethernet, WiFi, Radio, and specialized communication cable).

            - The central control system shall provide remote computer control of the controller providing automatic or manual program adjustments.

          - The controller shall offer an optional metal wall-mounted lockable cabinet and/or pedestal.

          - The controller shall be capable of receiving a managing cartridge that shall upgraded the controller to a Smart controller

          - The controller shall have multiple size wiring knockouts located on the bottom and the back side of the case to adapt to a wide variety of wiring applications, to facilitate installation and provide a clean professional look.

          - The controller door and front panel shall be removable to allow the case to be mounted to a wall.

          - The controller shall have a removable, programmable front panel for conveniently programming the controller away from the installation site or for teaching irrigation scheduling.

            - The removable programmable front panel shall use a 9 volt battery.

          - Shall include non-volatile (100-year) program memory to maintain the irrigation schedule indefinitely during a power outage.

          - The controller shall operate on 120 VAC± 10% at 60Hz (230VAC ± 10% at 50Hz for international models; Australian models:  240VAC ± 10% at 50Hz).

          - Shall include a standard 10kV surge protection.

          - Shall include a diagnostic self-setting circuit breaker that identifies a valve or wire fault and continues to water operable stations.

          - Shall include a valve test terminal to allow the installer to test the valve wires during installation to determine the valve that each wire is connected to.

          - The controller shall have default settings that allow the contractor to set his/her own default program.

            - The program can be automatically recalled up to 90 days in the future.

            - Shall be used for ease in restoring a schedule that has been altered or to replace a temporary schedule for new vegetation.

          - The controller shall have the capacity for the program to be erased allowing the user to start programming with a blank controller.

          - The controller shall have a reset button to reset the controller in the case of micro-controller “lock-up” due to power surges or frequent interruption to the power supply.

          - The controller shall include a lithium coin-cell battery that shall maintain time and date during a power outage.

          - Shall have the dimensions of:

            - Width:	14.32 in. (36.4 cm)

            - Height:	12.69 in. (32.2 cm)

            - Depth: 	5.50 in. (14.0 cm)

        - Irrigation metal wall-mount case specifications include but are not limited to:

          - Field wiring connections shall occur in the controller.

          - The metal case shall be sized such that the standard plastic case of a specific controller shall fit properly and securely in the case without altering the controller.

          - The controller shall be field installed into the metal case and can be mounted wall-mounted or attached to a free-standing pedestal.

          - The metal wall-mountable case shall include all necessary mounting bolt, nuts, and washers.

          - The metal wall-mount case shall be lockable.

          - The metal case shall be powder-coated steel.

          - The metal case shall have the dimensions of:

            - Width:	14.25 in. (36.2 cm)

            - Height:	12.875 in. (32.7 cm)

            - Depth: 	7.75 in. (19.7 cm)

        - Irrigation metal pedestal specifications include but are not limited to:

          - Field wiring connections shall occur in the controller.

          - The metal pedestal shall be sized such that a specified metal case shall fit properly and securely.

          - The metal pedestal case shall include all necessary mounting bolt, nuts, and washers.

          - The metal pedestal shall be powder-coated steel.

          - The metal pedestal shall have the dimensions of:

            - Width:	14.25 in. (36.2 cm)

            - Height:	28.00 in. (71.1 cm)

            - Depth: 	7.25 in. (18.4 cm)

        - Irrigation decoder specifications include but are not limited to:

          - The decoder addresses shall be pre-coded to eliminate confusion associated with user-defined decoder addressing.

          - The decoders shall be fully encapsulated creating a completely waterproof seal.

          - The field decoder shall be gray in color for North America and black outside of North America.

          - The line surge protector decoder shall be yellow in color.

          - The sensor decoder shall be green in color.

          - The decoders mounting shall be recommend to be placed in a valve box but shall be direct burial capable.

          - The decoder electrical input shall be:

            - Nominal Voltage: 34 Vpp (24V AC) from two wire line

            - Minimum Voltage: 21 Vpp (15V AC)

            - Maximum Voltage:  36 Vpp (25V AC)

          - The maximum 14 gauge cable run shall be:

            - Star:  2.4 miles

            - Loop:  9.6 miles

          - The decoder/solenoid wires shall have a maximum electrical resistance of 3 ohms.

          - The maximum decoder/solenoid 14 gauge cable run shall be a maximum of 456 feet.

          - Wiring for the decoders shall be a specified double jacketed wire.

          - The environment shall be:

            - Working Range: 32° to 122° F (0° to 50° C)

            - Storage Range:  -4° to 158° F (-20° to 70° C)

            - Humidity: 100%

          - Shall have five different field decoder options to allow the user to choose the precise amount of landscape irrigation control needed.

            - Field decoder interfacing signal line and valve.

            - Field decoder interfacing signal line and valve or pair of valves.

            - Field decoder interfacing signal line and 2 valves or 2 pair of valves.

            - Field decoder interfacing signal line and up to 4 individual valves.

            - Field decoder interfacing signal line and up to 6 individual valves.

          - Field decoder interfacing signal line and valve specifications include but are not limited to:

            - Power Draw:  0.5mA (idle), 18 mA (per active solenoid)

            - Dimensions:  Length:  2.77 in. (70 mm), Diameter 1.5 in. (40 mm)

            - Solenoids:  1 with individual control

            - Wires:  Blue to cable, white to solenoid

            - Surge protection shall be required every 500 ft.

            - The field decoder shall be gray in color for North America and black outside of North America.

          - Field decoder interfacing signal line and valve or pair of valves specifications include but are not limited to:

            - Power Draw:  0.5mA (idle), 18 mA (per active solenoid)

            - Dimensions:  Length:  3.35 in. (85 mm), Diameter 1.77 in. (45 mm)

            - Solenoids:  1 or two simultaneously

            - Wires:  Blue to cable, white to solenoid

            - Surge protection shall be required every 500 ft.

            - The field decoder shall be gray in color for North America and black outside of North America.

          - Field decoder interfacing signal line and 2 valves or 2 pair of valves specifications include but are not limited to:

            - Power Draw:  1.0mA (idle), 18 mA (per active solenoid)

            - Dimensions:  Length:  3.35 in. (85 mm), Diameter 1.97 in. (50 mm)

            - Solenoids:  1 to 4 simultaneously

            - Wires:  Blue to cable, white and brown to solenoids

            - Surge protection shall be required every 500 ft.

            - The field decoder shall be gray in color for North America and black outside of North America.

          - Field decoder interfacing signal line and up to 4 individual valves specifications include but are not limited to:

            - Power Draw:  1.0mA (idle), 18 mA (per active solenoid)

            - Dimensions:  Length:  3.94 in. (100 mm), Diameter 2.56 in. (65 mm)

            - Solenoids:  1 to 4 with individual control

            - Wires:  Blue to cable, color coded to solenoids

            - Surge protection shall be built into the decoder.

            - The decoder shall have an input fuse of 300-500mA, thermal.

            - The field decoder shall be gray in color for North America and black outside of North America.

          - Field decoder interfacing signal line and up to 6 individual valves specifications include but are not limited to:

            - Power Draw:  1.0mA (idle), 18 mA (per active solenoid)

            - Dimensions:  Length:  3.94 in. (100 mm), Diameter 2.56 in. (65 mm)

            - Solenoids:  1 to 6 with individual control

            - Wires:  Blue to cable, color coded to solenoids

            - Surge protection shall be built into the decoder.

            - The decoder shall have an input fuse of 300-500mA, thermal.

            - The field decoder shall be gray in color for North America and black outside of North America.

          - The line surge protector decoder specifications include but are not limited to:

            - The line surge protector decoder shall be grounded on a two-wire path every 500 feet (150 meters) or every 8 decoders, whichever is smaller.

            - The line surge protector decoder shall be placed on a two wire path with field decoder interfacing signal line and valves, field decoder interfacing signal line and valve or pair of valves, and field decoder interfacing signal line and 2 valves or 2 pair of valves.

            - The line surge protector decoder shall be used for surge protection only, and shall not have a decoder address.

            - The line surge protector decoder shall protect against 40V, 1.5kW trasil.

          - The sensor decoder specifications include but are not limited to:

            - The sensor decoder shall be an interface to flow sensors.

            - When the sensor decoder is wired to a flow sensor it shall monitor the current flow rate at a flow monitor by sending a pulse signals to the controller.