SECTION  32 84 00

IRRIGATION COMPONENTS AND/OR SYSTEMS

PART 1 - GENERAL

- SECTION INCLUDES

- Work to be performed under this Section shall consist of furnishing all labor and materials necessary to construct a complete working and tested sprinkler irrigation system as per all drawings and specifications.

1.2	REFERENCES

        - ANSI – American National Standards Institute

        - ASIC – American Society of Irrigation Consultants: ASIC Grounding Guideline.

        - ASSE – American Society of Sanitary Engineering: ASSE 1013, 1015: Backflow Preventers, Pressure Reducers.

        - ASTM – American Society of Testing and Materials

        - IA – The Irrigation Association: Main BMP Document.

        - NFPA – National Fire Protection Association: NFPA 70 National Electrical Code.

        - UL – Underwriters Laboratories: UL Wires and Cables.

1.3	DEFINITIONS

        - Water Supply:  Municipal Piping and Components furnished and installed by others to provide irrigation water to the Project.

        - Point of Connection:  Location where Contractor shall tie into water supply to provide irrigation water to the Project.

        - Mainline:  Pressurized piping downstream of the Point of Connection to provide water to remote control valves and quick couplers. Normally under constant pressure.

        - Lateral Pipe:  The system of pipes that provide water from the valves to the sprinkler heads or emitters.

1.4	SUBMITTALS

        - Product Data:  Submit manufacturer’s technical data and installation instructions prior to ordering of any materials.  Delivered material shall match approved submittals.

        - Certifications:  All general laborers and workers shall be previously trained and familiar with sprinkler installation, and have a minimum of one-year experience.

        - As-Built Drawings:  Submit red-lined plan layout and details illustrating field installed points of connection, controllers, mainline and lateral line locations, size, and assembly.  Include type and coverage of heads, type of valves, controllers, fittings, emitters, and accessories.

        - Operation and Maintenance Data:

            - Submit instructions covering full operation, care, and maintenance of system (and controls) and manufacturer’s parts catalog.

            - Include year-to-year schedule showing length of time each valve is to be open to provide determined amount of water, drain procedures, cleanout features, etc.

            - Instruct Owner’s maintenance personnel on how to operate controller, adjust sprinkler heads and other equipment, and use special tools for adjustments.

        - Keys:

            - Manual Valve Key:  Furnish two 3 foot long valve keys to fit each type of valve assembly.

            - Controller:  Furnish two keys for each automatic controller.

        - Tools:  Furnish two sets of special tools required for removing, disassembling, and adjusting each type of valve supplied on the Project.

1.5	PERFORMANCE REQUIREMENTS

        - All work to be performed to current standards of local governing municipality.

        - Location of Equipment:  Design locations shown on plans are approximate.

            - Adjust as necessary to avoid obstructions.

            - The number of heads or valves cannot be less than that indicated on plans without approval by Owner.

        - PVC Pipe:  Must be stamped with certified NFS.

        - Drain the system at the end of each work day if work continues after November 1, or  resumes before April 15. Do not permit water to remain in pipe overnight during this window.

        - Verify and mark locations of all utilities and underground obstructions. Contractor shall contact local utility location services a minimum of 48 hours prior to the commencement of any construction.

        - Contractor shall be responsible to obtain all necessary permits and to comply with electrical company requirements.

        - No substitutions of materials are allowed unless approved by Owner.

        - Record Copy:  Maintain at project site one copy of plans marked “Project Record Copy”. Mark any deviation in material installation or design on this copy. Maintain and update at least weekly. Use this copy to produce As-Built Drawings upon project completion.

        - As-Built Drawings:  Contractor shall record and submit an “As-Built” drawing which records actual installed conditions.

              - The As-Built Drawings shall be clearly and neatly drawn on a reproducible base of the original irrigation design. An electronic version is also acceptable.

              - Contractor shall submit As-Built Drawings to the Owner’s Representative and Landscape Architect before work under this contract will be considered for Acceptance.

              - All components of the system shall be shown with dimensions to reference points, as indicated above under “Irrigation Design Drawing”. Drawing shall be scaled no smaller than 1” = 30’-0”. As-Built submittal, review, and approval by the Owner’s Representative and Landscape Architect shall precede Application for Final Payment by the Contractor.

1.6	QUALITY ASSURANCE

          - Contractor shall have considerable experience and demonstrate ability in the installation of irrigation system(s) of specified type(s) in a neat, orderly, and responsible manner in accordance with recognized standards of workmanship.

            - Contractor shall have a minimum of five years experience in the commercial irrigation industry constructing jobs of similar size and complexity to this one.

            - Contractor must be a current Certified Irrigation Contractor in good standing as set forth by the Irrigation Association.

            - Contractor must be licensed to perform landscape construction in the state of this project.

        - Contractor shall provide a list of five equivalent commercial irrigation system installations, performed in the last five years, providing the following information:

              - Name and address of project

              - Name and address of Owner

              - Name and address of whom contract was with

        - All work shall be performed in accordance with the best standards of practice relating to the trade.

1.7	DELIVERY, STORAGE, AND HANDLING

        - Deliver, unload, store, and handle materials, packaging, bundling, and products in dry, weatherproof, waterproof condition in a manner to prevent damage, breakage, deterioration, intrusion, ignition, and vandalism.

        - Deliver in original unopened packaging containers prominently displaying manufacturer’s name, volume, quantity, contents, instructions, and conformance to local, state, and federal law.

        - Remove and replace cracked, broken, or contaminated items or elements prematurely exposed to moisture, inclement weather, temperature extremes, fire, and/or jobsite damage.

        - Damaged materials attributed to Contractor shall be replaced with new materials at Contractor’s expense.

1.8	JOB SITE CONDITIONS

        - Protection of Property:  Preserve and protect all monuments, structures, existing improvements, and paved areas from damage due to work of this section. In the event damage does occur, completely repair or replace all damage to satisfaction of Owner at no additional cost to the Project or Owner.

        - Protection and Repair of Underground Lines:  Request proper utility company to stake exact location (including depth) of all underground utilities. Take whatever precautions are necessary to protect these underground lines from damage, and, in the event damage does occur, repair all damages at no additional cost to the Project or Owner.

        - Replacement of Paving and Curbs:  Where trenches and lines cross existing roadways, paths, curbing, etc., keep damage to a minimum and restore to original condition.

1.9	WARRANTY

        - Contractor shall provide a one year warranty that covers all material, workmanship, and labor.

            - Shall include filling and/or repairing depressions or replacing turf or other plantings due to settlement of irrigation trenches or irrigation system elements.

            - Shall include replacing turf or other plantings due to malfunctioning irrigation system.

            - Valve boxes, sprinklers, or other components settled from original finish grade shall be restored to proper grade.  Irrigation system shall be adjusted to provide proper, adequate coverage of irrigated areas.

PART 2 - PRODUCTS

- 2.1	PIPE AND FITTINGS:

          - General Information

            - Provide pipe and fittings as per the specification.

            - Pipe and fittings shall be comprised of components as outlined in this specification in order to meet the demands of the irrigation zones they service.

          - Pipe and Fittings

            - Material:  PVC

            - Pressure Pipe:  Schedule 40.

            - Lateral Pipe:  Schedule 40.

            - Fittings:  Schedule 40, solvent welded or threaded.

            - Risers:  Schedule 80, threaded.

            - Sleeves:  Schedule 40, minimum 2”.

- 2.2	AUTOMATIC CONTROLLERS

          - General Information

            - Provide irrigation controller as per the specification.

            - The irrigation controller shall be comprised of components as outlined in this specification in order to meet the electrical demands and control requirements of the irrigation zones they service.

          - Irrigation Controller

          - Irrigation controller specifications include but are not limited to:

          - The controller shall be of a hybrid type that is microelectronic circuitry capable of fully automatic or manual operation.

          - The controller shall be housed in a wall-mountable, weather resistant plastic cabinet with a key-locking cabinet door suitable for outdoor installation.

          - The controller shall have a base station capacity of 8 or 12 stations with three slots capable of receiving 4, 8, or 12 station expansion modules for a controller capacity of up to 48 stations.

          - All stations shall have the capability of independently obeying or ignoring the weather sensor as well as using or not using the master valve.

          - The weather sensors shall include but are not limited to a rain/freeze sensor, a rain sensor for monitoring rainfall, and a anemometer with pulse monitor. The controller shall be compatible with a control device that enables weather-based management.

          - The controller shall have 4 separate and independent programs which can have different start time, start day cycles and station run times.

            - Each program shall have up to 8 start times per day for a total of 32 possible start times per day.

            - The programs shall be allowed to overlap operations based on user-defined settings which control the number of simultaneous stations per program and total for the controller.

          - The controller shall come standard with a feature which allows the user to define up to five 24 VAC, 7VA solenoid valves to operate simultaneously.

          - The controller shall have a cycle and soak water management feature which is capable of operating each station for a maximum cycle time and a minimum soak time to reduce water run-off.

          - The controller shall incorporate a flow manager feature that shall provide real-time flow, power, and station management; a flow sensor module option; and a flow sensor module which learns the normal flow rate of each station.

          - The controller shall be compatible with a specified central control system utilizing specialized network communication cartridges.

          - Shall include a 1-year trade warranty.

        - Use a lockable powder-coated steel case suitable for wall mounting or free standing pedestal mounting.

        - Use a powder-coated steel pedestal for pedestal mounting in conjunction with the steel case.

2.3	CONTROL VALVES

          - General Information

            - Provide irrigation electric remote control valves as per the specification.

            - The electric remote control valve shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Electric Remote Control Valve

            - Electric remote control valve specifications include but are not limited to:

              - The valve body shall be constructed of heavy-duty glass-filled ultra-violet resistant nylon.

              - Diaphragm shall be of nylon reinforced nitrile rubber.

              - Shall contain a nylon scrubber which prevents debris build-up and clogging.

              - Valve can accommodate an optional, field-installed pressure regulating module.

              - Shall include 1” (26/34) NPT female threaded (available with BSP threads) configuration.

              - Operating pressure range of 20 to 200 psi (1.4 to 13.8 bar).

              - Operating flow rate of 5 to 200 gpm (1.14 to 45.4 m3/h; 19.2 to 757 l/m).

              - Shall include a 5-year trade warranty.

- 2.4	QUICK COUPLING VALVE

          - General Information

            - Provide quick coupling valves as per the specification.

            - The quick-coupling valve shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Quick-coupling valve

            - Quick-coupling valve specifications include but are not limited to:

              - Shall be constructed of rugged, red brass construction for long life and reliable performance.

              - Shall include a locking thermoplastic cover for durability and vandal resistance.

              - Operating pressure range of 5 to 125 psi (0.3 to 8.6 bar).

              - Operating flow rate of 10 to 125 gpm (2.27 to 28.38 m3/h; 37.8 to 265 l/m).

              - Shall include a 3-year trade warranty.

- 2.5	BACKFLOW PREVENTER

        - General Information

            - Provide backflow preventer as per the specification.

            - The backflow preventer shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Backflow Preventer

            - Manufacturer’s standard, to suit sprinkler system as follows:

            - Reduced Pressure Principle Device (RP) or as approved by local jurisdiction.

            - Capability of being tested and serviced without removing from line.

            - Comply with local water district and State requirements for such.

- 2.6	DRIP CONTROL ZONE KITS

          - General Information

            - Provide drip control zone kit assemblies as per the specification.

            - Drip control zone kit assemblies for drip irrigation zones must include control valve, filtration, and pressure regulation components sized to meet the hydraulic demands and flow requirements of the zones that they service.

          - High flow control zone kit assembly for drip zones with flows from 15 to 40 gpm (56.8 to 151.4 l/m), including 1.5” (38 mm) control valve (CV) and two 1” (25 mm) parallel pressure-regulating quick check basket filters (PRBF).

            - Control Valve (CV) component specifications include:

              - Control valve body and bonnet constructed of heavy-duty glass-filled nylon, stainless steel and other chemical/ultra-violet resistant materials.

              - Diaphragm constructed of a durable Buna-N rubber material reinforced with nylon.

              - Inlet pressure rating: 20 to 200 psi (1.4 to 13.8 bar).

            - Pressure-regulating quick check basket filter (PRBF) specifications include:

              - Basket style body and jar-top cap constructed of heavy-duty glass-filled, ultra-violet-resistant polypropylene, with 150 psi (10.3 bar) operating pressure rating.

              - Standard 200 mesh (75 micron) filter screen constructed of stainless steel. Screen is serviceable for cleaning purposes by unscrewing cap from filter body and removing filter element.

              - Indicator incorporated into filter cap that changes color from green to red during operation when the filter element requires cleaning.

            - Operating flow rate of 15 to 40 gpm (56.8 to 151.4 l/m).

            - Operating pressure range of 20 to 150 psi (1.4 to 10.3 bar).

            - Regulated pressure of 40 psi (2.8 bar).

            - Shall include a 3 -year trade warranty.

          - Medium flow control zone kit assembly for drip zones with flows from 3 to 20 gpm (11.4 to 75.7 l/m), including 1” (25 mm) PVC ball valve, 1” (25 mm) control valve (CV), and 1” (25 mm) quick check pressure-regulating basket filter (PRBF).

            - Control Valve (CV) component specifications include:

              - Control valve body and bonnet constructed of heavy-duty glass-filled nylon, stainless steel and other chemical/ultra-violet resistant materials.

              - Diaphragm constructed of a durable Buna-N rubber material reinforced with nylon.

              - Inlet pressure rating: 20 to 200 psi (1.4 to 13.8 bar).

            - Pressure-regulating quick check basket filter (PRBF) specifications include:

              - Basket style body and jar-top cap constructed of heavy-duty glass-filled, ultra-violet-resistant polypropylene, with 150 psi (10.3 bar) operating pressure rating.

              - Standard 200 mesh (75 micron) filter screen constructed of stainless steel. Screen is serviceable for cleaning purposes by unscrewing cap from filter body and removing filter element.

              - Indicator incorporated into filter cap that changes color from green to red during operation when the filter element requires cleaning.

            - Operating flow rate of 3 to 20 gpm (11.4 to 75.7 l/m).

            - Operating pressure range of 15 to 150 psi (1.0 to 10.3 bar).

            - Regulated pressure of 40 psi (2.8 bar).

            - Shall include a 3 -year trade warranty.

          - Medium flow control zone with flows from 3 to 15 gpm (11.4 to 56.8 l/m), including 1” (25 mm) control valve (CV) and Rain Bird® 1” (25 mm) pressure-regulating filter (PRF).

            - Control Valve (CV) component specifications include:

              - Valve body and bonnet constructed of high impact, weather-resistant plastic, stainless steel and other chemical/ultra-violet resistant materials.

              - One unit diaphragm constructed of durable Buna-N rubber with a clog resistant metering orifice.

              - Inlet pressure rating of 15 to 150 psi (1.0 to 10.3 bar).

            - Pressure Regulating Filter (PRF) combines filtration and pressure regulation in one integrated unit for protection of downstream components of drip irrigation system. PRF component specifications include:

              - Compact “Y” filter body and cap configuration constructed of glass-filled, ultra-violet resistant polypropylene, with 150 psi (10.3 bar) operating pressure rating.

              - 200 mesh (75 micron) filter screen constructed of stainless steel.

              - Normally-open pressure regulating device with preset outlet pressure of 40 psi (2.8 bar).  Pressure regulating device allows full flow with minimal pressure loss unless inlet pressure is greater than preset level. As inlet pressure increases above preset level, internal spring compresses to reduce downstream pressure.

            - Operating flow rate of 3 to 15 gpm (11.4 to 56.8 l/m).

            - Operating pressure range of 20 to 150 psi (1.4 to 10.3 bar).

            - Regulated pressure of 40 psi (2.8 bar).

            - Shall include a 3-year trade warranty.

          - Low flow control zone kit for drip zones with flows from 0.2 to 5.0 gpm (0.8 to 18.9 l/m), including ¾” (19 mm) Low Flow Valve (LFV) and ¾” (19 mm) Pressure-Regulating Filter (PRF).

            - Low flow valve (LFV) component specifications include:

              - Valve body and bonnet constructed of high impact, weather-resistant plastic, stainless steel and other chemical/ultra-violet resistant materials.

              - One unit diaphragm constructed of durable Buna-N rubber material with a clog resistant metering orifice.

              - Inlet pressure rating of 15 to 150 psi (1.0 to 10.3 bar).

            - Pressure regulating filter (PRF) combines filtration and pressure regulation in one integrated unit for protection of downstream components of drip irrigation system. PRF component specifications include:

              - Compact “Y” filter body and cap configuration constructed of glass-filled, ultra-violet resistant polypropylene, with 150 psi (10.3 bar) operating pressure rating.

              - 200 mesh (75 micron) filter screen constructed of stainless steel.

              - Normally-open pressure regulating device with preset outlet pressure of 30 psi (2.1 bar).  Pressure regulating device allows full flow with minimal pressure loss unless inlet pressure is greater than preset level. As inlet pressure increases above preset level, internal spring compresses to reduce downstream pressure.

            - Operating flow rate of 0.2 to 5 gpm (0.8 to 18.9 l/m).

            - Operating pressure range of 20 to 150 psi (1.4 to 10.3 bar).

            - Regulated pressure of 30 psi (2.1 bar).

            - Shall include a 3-year trade warranty.

- 2.7	POP-UP SPRINKLERS

          - General Information

            - Provide irrigation spray bodies as per the specification

            - The spray body shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Spray Body for shrub or small turf areas (2.5-24 feet (0.8-7.3m)) spacing with a 30 psi (2.0 bar) pressure regulating device, maximum 100 psi (6.9 bar).

            - Irrigation spray body with a 30 psi (2.0 bar) pressure regulating device specifications include but are not limited to:

              - Parts and components to withstand harsh operating conditions using chemically treated recycled water (reclaimed/non-potable), dirty water containing grit, debris, and other particulates, high operating pressures common in commercial irrigation and resistant to ultra-violet light.

              - Parts and components resistant to corrosion in treated recycled water containing chlorine and other chemicals.

              - Pressure-activated, co-molded soft elastomer wiper seal composed of three wipers and a base seal to ensure a positive seal without excess “flow-by” which enables more heads to be installed on the same valve.

              - Recessed debris pockets located in the base of the spray body to prevent recirculation of harmful debris during operation.

              - Shall include a check valve to prevent low head drainage of up to 14 feet (4.3 m); 6 psi (0.4 bar).

              - Shall include a 30 psi (2.0 bar) pressure regulating device to prevent high pressure fogging to the nozzle stream.

              - Shall include technology built into the stem to prevent water loss and alert maintenance when a spray nozzle is removed.

              - Operating pressure range of 15 to 100 psi (1.0 to 6.9 bar).

              - Flow by rating of 0 at 15 psi (1.0 bar) or greater, 0.5 gpm (0.1 m3/h; 0.03 l/s) otherwise.

              - Shall include ½” (15/21) NPT female threaded bottom inlet.

              - The spray body, stem, nozzle, and screen shall be constructed of heavy-duty and ultra-violet resistant plastic.

              - Shall include a five-year trade warranty.

          - Spray Body for shrub or small turf areas (2.5-24 feet (0.8-7.3m)) spacing with a 45 psi (3.1 bar) pressure regulating device, maximum 100 psi (6.9 bar).

            - Irrigation spray body with a 45 psi (3.1 bar) pressure regulating device specifications include but are not limited to:

              - Parts and components to withstand harsh operating conditions using chemically treated recycled water (reclaimed/non-potable), dirty water containing grit, debris, and other particulates, high operating pressures common in commercial irrigation and resistant to ultra-violet light.

              - Parts and components resistant to corrosion in treated recycled water containing chlorine and other chemicals.

              - Pressure-activated, co-molded soft elastomer wiper seal composed of three wipers and a base seal to ensure a positive seal without excess “flow-by” which enables more heads to be installed on the same valve.

              - Recessed debris pockets located in the base of the spray body to prevent recirculation of harmful debris during operation.

              - Shall include a check valve to prevent low head drainage of up to 14 feet (4.3 m); 6 psi (0.4 bar).

              - Shall include a 45 psi (3.1 bar) pressure regulating device to prevent high pressure fogging to the nozzle stream.

              - Shall include technology built into the stem to prevent water loss and alert maintenance when a spray nozzle is removed.

              - Operating pressure range of 15 to 100 psi (1.0 to 6.9 bar).

              - Flow by rating of 0 at 15 psi (1.0 bar) or greater, 0.5 gpm (0.1 m3/h; 0.03 l/s) otherwise.

              - Shall include ½” (15/21) NPT female threaded bottom inlet.

              - The spray body, stem, nozzle, and screen shall be constructed of heavy-duty and ultra-violet resistant plastic.

              - Shall include a five-year trade warranty.

- 2.8	SPRAY NOZZLES

          - General Information

            - Provide spray nozzles as per the specification.

          - Fixed arc matched precipitation rate spray nozzle for shrub or small turf areas (3-15 feet (.91-4.6 m) spacing), maximum 30 psi (2.1 bar).

            - Fixed arc matched precipitation rate spray nozzle specifications include but are not limited to:

              - Shall be constructed of ultra-violet resistant plastic.

              - Shall contain a stainless steel flow and radius adjustment screw allowing up to 25% radius reduction.

              - Nozzle shall have a precipitation rate that is matched across sets and patterns of spray nozzles up to 15 feet (4.6 m).

              - The angle of trajectory shall be 5 to 30 degrees (0.09-0.5 rad).

              - Shall have a nozzle operating pressure range of 15 to 30 psi (1.0 to 2.1 bar).

              - Shall include color coding marking on top of nozzle for easy identification of spray radius.

              - Shall include a three-year trade warranty.

          - Dual orifice fixed arc nozzle for shrub or small turf areas (5-15 feet (1.7-4.6 m) spacing), maximum 30 psi (2.1 bar).

            - Dual orifice fixed arc nozzle nozzle specifications include but are not limited to:

              - Shall be constructed of ultra-violet resistant plastic.

              - Shall contain a stainless steel flow and radius adjustment screw allowing up to 25% radius reduction.

              - The nozzle shall have dual orifices for both in-close watering and standard pattern watering.

              - Nozzle shall have a matched precipitation rate between sets and matched flow and with other matched precipitation rate fixed spray nozzles up to 15 feet (4.6 m).

              - The angle of trajectory shall be 10 to 23 degrees (0.17-0.4 rad).

              - Shall have a nozzle operating pressure range of 15 to 30 psi (1.0 to 2.1 bar).

              - Shall include color coding marking on top of nozzle for easy identification of spray radius.

              - Shall include a five-year trade warranty.

          - Multi stream rotating nozzle for shrub or small turf areas (13-24 feet (4.0-7.4m) spacing), maximum 55 psi (3.8 bar).

            - Multi stream rotating nozzle specifications include but are not limited to:

              - Shall be constructed of ultra-violet resistant plastic.

              - Shall contain a stainless steel radius adjustment screw allowing reduction to 13 feet (4.0 m).

              - The angle of the trajectory shall vary from 1 to 30 degrees.

              - Shall have multiple, rotated streams which uniformly distribute water throughout the radius stream.

              - Shall have a matched precipitation rate of 0.60 in/hr (15.2 mm/hr).

              - Shall have a nozzle operating pressure range of 20 to 55 psi (1.4 to 3.8 bar).

              - Shall have a color coded radius reduction plug to allow for easy identification of fixed arc pattern.

              - Shall include a three-year trade warranty.

- 2.9	ROTOR HEADS

          - General Information

            - Provide rotor sprinklers as per the specification.

            - Rotor sprinklers shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Pop-up rotor sprinkler for medium turf areas (25-47 feet (7.6-14.3 m) spacing), maximum 75 psi (5.2 bar).

            - Pop-up rotor sprinkler specifications include but are not limited to:

              - Shall have adjustable arc rotation of 40 to 360 degrees (0.7 to 6.3 rad) and reversing full circle rotation.

              - Shall have a flow shut-off device that is integrated into the flow path of the sprinkler.

              - Shall have a pressure-activated, multi-function wiper seal that protects internals from debris and assures positive pop-up and retraction.

              - Shall contain additional o-rings and seals for extra protection in “gritty” water.

              - Operating precipitation rate of 0.20 to 1.01 inches per hour (5 to 26 mm/h).

              - Operating pressure range of 25 to 75 psi (1.7 to 5.2 bar).

              - Operating flow rate of 0.73 to 8.31 gpm (0.17 to 1.85 m3/h).

              - The body, stem, nozzle, and screen shall be constructed of heavy-duty and ultra-violet resistant plastic.

              - Shall include a 45 psi (3.1 bar) pressure regulating device to prevent high pressure misting to the nozzle stream.

              - Shall include an internal check valve to prevent low head drainage of up to 7 feet (2.1 m) to prevent puddling, run-off and erosion.

              - Shall include a stainless steel riser to help deter vandalism on public turf areas.

              - Shall include a set of twelve interchangeable nozzles, 8 nozzles with 25 degree (0.4 rad) trajectory and 4 low-angle nozzles with 10 degree (0.2 rad) trajectory.

              - Shall include a five-year trade warranty.

          - Pop-up rotor sprinkler for medium turf areas (17-55 feet (5.2-16.8 m) spacing), maximum 90 psi (6.2 bar).

            - Pop-up rotor sprinkler specifications include but are not limited to:

              - Full and part circle arc rotation in one unit to reduce inventory requirements with part circle adjustable arc rotation of 50 to 330 degrees (0.9 to 5.8 rad).

              - Shall have vandal resistant features including an arc memory device, a non-strippable drive mechanism, and a brass reinforcing shaft.

              - Shall have a pressure-activated, multi-function wiper seal that protects internals from debris and assures positive pop-up and retraction.

              - Shall include a screen attached to the drive housing to filter inlet water, protect the drive from clogging, simplify its removal for cleaning and flushing of the system and with built-in freeze protection.

              - Operating precipitation rate of 0.21 to 1.48 inches per hour (5.3 to 37.6 mm/h).

              - Operating pressure range of 30 to 90 psi (2.1 to 6.2 bar).

              - Operating flow rate of 1.2 to 15.5 gpm (0.32 to 3.52 m3/h).

              - The body, stem, nozzle, and screen shall be constructed of heavy-duty and ultra-violet resistant plastic.

              - Shall include an internal check valve to prevent low head drainage of up to 10 feet (3.1 m) to prevent puddling, run-off and erosion.

              - Shall include a stainless steel covered nozzle turret and riser stem to help deter vandalism.

              - Shall include a set of interchangeable color-coded nozzles, 8 nozzles providing 33 to 55 feet (10.0-16.8 m) of throw and 4 nozzles providing 17 to 35 feet (5.2-10.7m) of throw.

              - Shall include a five-year trade warranty.

          - Pop-up rotor sprinkler for large turf areas (57-81 feet (17.4-24.7 m) spacing), maximum 100 psi (6.9 bar).

            - Pop-up rotor sprinkler specifications include but are not limited to:

              - Full and part circle arc rotation in one unit to reduce inventory requirements with part circle adjustable arc rotation of 50 to 330 degrees (0.9 to 5.8 rad).

              - Shall have vandal resistant features including an arc memory device, a non-strippable drive mechanism, and a brass reinforcing shaft.

              - Shall have a pressure-activated, multi-function wiper seal that protects internals from debris and assures positive pop-up and retraction.

              - Operating precipitation rate of .66 to 1.23 inches per hour (17 to 31 mm/h).

              - Operating pressure range of 50 to 100 psi (3.4 to 6.9 bar).

              - Operating flow rate of 11.1 to 36.3 gpm (2.5 to 8.2 m3/h).

              - The body, stem, nozzle, and screen shall be constructed of heavy-duty and ultra-violet resistant plastic.

              - Shall include an internal check valve to prevent low head drainage of up to 10 feet (3.1 m) to prevent puddling, run-off and erosion.

              - Shall include a stainless steel covered nozzle turret and riser stem to help deter vandalism.

              - Shall include a set of eight interchangeable color-coded nozzles with 25 degree (0.4 rad) trajectory.

              - Shall include a five-year trade warranty.

- 2.10	FLEXIBLE SWING PIPE

          - General Information

            - Provide flexible swing pipe as per the specification.

            - The flexible swing pipe shall be comprised of components as outlined in this specification in order to meet the irrigation demands and control requirements of the irrigation zones they service.

          - Flexible Swing Pipe

            - Flexible swing pipe specifications include but are not limited to:

              - Swing pipe shall be flexible black tubing constructed of linear low density polyethylene material with a wall thickness of 0.098” (0.3 cm) with a nominal inside diameter of 0.49” (1.2 cm).

              - Pipe shall be capable of a flow up to 8 gpm (0.5 l/s).

              - Shall include a 3-year trade warranty.

- 2.11	DRIPLINE

          - General Information

            - Provide distribution tubing as per the specification.

            - The distribution tubing shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Distribution Tubing

            - Distribution tubing specifications include but are not limited to:

              - The blank tubing shall be manufactured from flexible polyethylene material with a wall thickness of 0.049” (1.2 mm), outside diameter of 0.634” (16.1 mm), and inside diameter of 0.536” (13.6 mm).

              - The tubing shall be dual-layered (brown over black).

              - Shall include a trade warranty of five (5) years on product workmanship and seven (7) years on environmental stress cracking.

- 2.12	INLINE EMITTER DRIPLINE

          - General Information

            - Provide sub-surface inline emitter tubing as per the specification.

            - The sub-surface inline emitter tubing shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Sub-surface Inline Emitter Tubing

            - Sub-surface inline emitter tubing specifications include but are not limited to:

              - The tubing shall be manufactured from flexible polyethylene material with wall thickness of 0.049” (1.2 mm), outside diameter of 0.634” (16 mm), and inside diameter of 0.536” (13.6 mm).

              - The tubing shall have factory installed pressure-compensating, inline emitters with a copper shield device installed every 12, 18, or 24 inches (30.5, 45.7, 61 cm) as indicated on construction drawings.

              - The tubing shall be dual-layered (copper colored over black).

              - The bend radius of the tubing shall be 3 inches (76.2 mm) whether the bending is with the natural bend of the coil or against it.

              - Operating pressure range of 8.5 to 60 psi (0.6 to 4.1 bar).

              - Operating emitter flow rates of 0.6 and 0.9 gph (2.3 l/hr and 3.5 l/hr).

              - Shall include a 3-year trade warranty.

- 2.13	DISTRIBUTION TUBING

          - General Information

            - Provide ¼” distribution tubing for emitters or other devices as per this specification.

            - The ¼” distribution tubing for emitters or other devices shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - ¼” Distribution Tubing

            - ¼” distribution tubing specifications include but are not limited to:

              - The blank tubing shall be extruded from ultra-violet resistant polyethylene resin materials with a wall thickness of 0.04” (1 mm), outside diameter of 0.250” (6.3 mm), and inside diameter of 0.170” (4.3 mm).

              - Operating pressure range from 0 to 60 psi (0 to 4.1 bar).

              - Shall include a 3-year trade warranty.

- 2.14	EMITTERS

          - General Information

            - Provide point source emission devices as per the specification.

            - The point source emission device shall be comprised of components as outlined in this specification in order to meet the hydraulic demands and flow requirements of the irrigation zones they service.

          - Point Source Emission Devices

            - Point source emission device specifications include but are not limited to:

              - The emitter shall be constructed of ultra-violet resistant acetyl materials.

              - Shall have a pressure-compensating design to deliver a uniform flow throughout a pressure range of 15 to 50 psi (1.0 to 3.4 bar).

              - Flow rates that range from 0.5 to 2 gph (1.89 to 7.57 l/h) at a pressure range of 15 to 50 psi (1.0 to 3.4 bar).

              - Emitters color coded to identify flow rates.

              - Shall include a 3-year trade warranty.

- 2.15	VALVE BOX

          - General Information

            - Provide valve boxes as per the specification.

            - Valve boxes shall be comprised of components as outlined in this specification in order to meet the irrigation demands and control requirements of the irrigation zones they service.

          - Valve Boxes

            - Valve boxes specifications include but are not limited to:

              - Shall be made of structural foam HPDE resin that is resistant to ultra-violet light, weather, moisture and chemical action of soils.

              - Lids shall be clearly marked with the words “IRRIGATION CONTROL VALVE” molded onto the top.

              - Lid colors are available in black, green and purple designating non-potable water use.

              - Available sizes include 14.5” x 9.4” (36.8 cn x 23.9 cm) rectangular, 18.7” x 12.2” (47.4 cm x 30.9 cm) rectangular, 22.5” x 13.0” (57.1 cm x 33.0 cm) rectangular, 29.4” x 16.4” (74.7 cm x 41.7 cm) rectangular, 10” (25.4 cm) round, 7” (17.8 cm) round, and 6” (15.2 cm) .

              - Shall include a 5-year trade warranty.

PART 3 - EXECUTION

- 3.1	EXCAVATION

          - Stake pipe and equipment layout as follows:

            - Mark routing of pressure supply line and flag heads for first few zones for Owner’s review and approval. Owner will review staking and direct changes if required. Review does not relieve installer from coverage problems due to improper placement after staking.

          - Excavate trenches for irrigation system pipe to provide minimum cover per plans and details. Before excavating, establish the location of all underground utilities and obstructions. Dig trenches straight and support pipe continuously on bottom of trench. Clean trench bottom and smooth by removing all rock and organic debris.

          - Barricade trenches that are left open overnight.

- 3.2	INSTALLATION

          - General: Plans are diagrammatic. Proceed with installation in accordance with the following:

            - Install stop and waste valves, backflow preventers, and other equipment required by local authorities according to laws and regulations in order to make system complete.

            - Install main line, control valves, lateral lines, fittings, and heads/drip line as specified. Avoid conflict with tree locations. Where trenching is required in proximity to trees which are to remain, do not damage roots.

            - Thoroughly flush main lines before installing automatic control valves, and laterals before installing sprinklers. Flush supply lines thoroughly before installing backflow preventers or other regulating devices.

            - Adjust heads to be plumb and flush with finished grades, even with top of soil level or top of material level after completion of grading, seeding or sodding, and rolling of grass areas.

            - Any discrepancies between existing site conditions and those indicated on the plans shall be called to the attention of Owner prior to continuance of the project.

          - Piping:  Assemble all mainline and lateral lines in accordance with manufacturer’s recommendations with no cul-de-sacs. Assure positive drainage.

              - Pack the opening around the pipe with non-shrink grout at wall penetrations. Fill perimeter slot with backer rod and sealant at exterior face. Repair below grade waterproofing and make penetration watertight.

              - Install PVC pipe in dry weather above 40 degrees F as specified by manufacturer’s recommendations. Allow joints to cure a minimum of 8 hours before testing.

              - Lay pipe and make all plastic to plastic joints in accordance with manufacturer’s recommendations.

          - Sleeves:  Install sleeves before concrete/paving work.

              - Sleeves should be a minimum two times the diameter of the pipe passing through them.

              - Install sleeves at a maximum depth of 24” unless specific site conditions warrant differently.

              - Use a separate sleeve for irrigation wire.

          - Control Valves:

              - Install control valves at plan locations, according to details, and in accordance with manufacturer’s recommendations.

              - Install one valve per valve box and provide 12 inches of expansion loop slack wire at all connections inside valve box.

          - Manual Drains:

              - Install per manufacturer’s recommendations on upstream and downstream side of backflow preventers and at lowest point along main pressure pipe.

              - Install by teeing down to ¾ inch drain valve. Provide a drainage sump sized to receive volume of drain water.

              - Make manual drain valves accessible by installing an adjustable pipe sleeve to meet finished grade with locking valve marker lid flush with finish grade.

          - Quick-Coupling Valves:  Install using 1 inch PVC nipples and schedule 40 ells as detailed. Location as indicated on plans.

          - Backflow Preventer:

              - Install assembly complete for irrigation system with 2 drain valves and 2 shut off valves per detail, local laws and regulations, and per manufacturer’s specifications.

              - Install assemblies with drain valves in below grade installations. Provide open box floor with gravel drain sump.

          - Valve Boxes

              - Install over all remote control valves, manual control valves, zone shutoff valves, gate valves, or globe valves. Size to provide adequate room for maintenance.

              - Install boxes on level subgrade with proper drainage so that top of boxes are flush with finish grade material (sod, mulch, rock, etc.).  Place parallel or perpendicular to adjacent curbs, sidewalks, or driveways.

              - Imprint a valve control number on each box cover that corresponds to the valve controller in a permanent and legible manner.

              - Place washed gravel aggregate in sump as shown on details.

          - Automatic Controller

              - Stake controller location for approval.

              - Install according to manufacturer’s instructions.

              - Mount the panel enclosure so adjustments can be conveniently made by operator.

              - Properly ground controller per local laws and regulations. Make all control wire connections to automatic controller. Coordinate controller installation with other electrical work.

              - Connect remote control valves to controller in numerical sequence as shown on Plans.

              - Pour concrete pedestal base with inserted conduits and bolts if pedestal controller is used.  Concrete base to be not less than 6 inches (150 mm) greater in each direction than overall dimensions of controller.

              - Program controller to provide appropriate amount of water for each station.

          - Wire and Electrical Work

              - Use electrical control and ground wire suitable for sprinkler control cable of size indicated on Plans.

              - Tape control wires to underside of pipe at 15 ft intervals.

              - Provide 120-volt power connection (by others) to automatic controller to conform to local codes, ordinances and authorities having jurisdiction.

              - Low Voltage Wiring:

                - Bury control wiring between controller and electric valves in pressure supply line trenches, strung as close as possible to main pipe lines with such wires to be consistently located below and to one side of the pipe, or in separate trenches.

                - Bundle all 24-volt wires at 10-foot intervals and lay with pressure supply line pipe to one side of trench.

                - Provide an expansion loop at every pressure pipe angle and fitting and at every electric control valve location (in valve box). Form expansion loop by wrapping wire at least 8 times around a ¾-inch pipe and withdrawing pipe.

                - Make all splices and E.V.C. connections using connectors or similar dry splice method.

                - Install all control wire splices not occurring at control valve in a separate 10” splice valve box. Install a minimum of 24” of spare wire in splice boxes.

                - Install control wire for each control valve.

                - Run 2 spare #14-1 wires from controller pedestal or electric control valve on each and every leg of mainline. Label spare wires at controller and wire stub box.

          - Sprinkler Heads, Emitters, Rotators, and Rotors

              - Install per plans, details, and manufacturer’s recommendations.

              - Flush circuit piping with full head of water and install sprinklers after hydrostatic text is completed.

              - Adjust nozzles to allow for adequate coverage and to minimize overspray onto walks, roads, driveways, and buildings.

              - Locate part-circle sprinklers a minimum distance of 4 inches (100 mm) from walls and 2 inches (50 mm) from other boundaries, unless otherwise indicated.

              - Stake emitter tubing with 1/4” Rainbird® TS-025 tubing stakes.

              - Adjust heads to be plumb and flush with finish grades, even with top of soil level or top of material level after completion of grading, seeding, sodding, and rolling of grass.

          - Drip Tubing

              - Install all drip tubing per plans before installation of mulch.

              - Install flush caps as indicated on details.

          - Thrust Blocks and/or Joint Restraints

              - Install on pipe sized 2” or larger wherever the main pipe line:

                - Changes any direction at tees, angles, and crosses vertical and horizontal.

                - Changes at reducers.

                - Stops at a dead-end.

                - Valves at which thrust develops when closed.

              - Size of thrust block depends on pressure, pipe size, soil type, and fitting type. As a general rule, one cubic foot (minimum) of concrete is required for each thrust block.

              - Thrust blocks shall rest against undisturbed original soil in direction of thrust.

              - Use joint restraints as manufactured by Harco or Leemco on mainline sizes 3” and greater.

- 3.3	BACKFILLING

- Do not begin backfilling operations until system tests and approvals have been completed.

- Bed all pipe a minimum of 2 inches. Backfill to 6 inches above pipe with soil free of rocks over 1-inch diameter, debris, or organic matter. Backfill remainder of trench with soil of like quality to adjacent areas. Haul away all material not suitable for backfill.

- Compact backfill in 6-inch lifts thoroughly to prevent settling damage to grades or plant material. Leave trenches slightly mounded to allow for settlement after backfilling is completed. Low areas and damage caused by settling will be repaired by Contractor at no additional cost to the Project or Owner.

- Prevent soil, rocks, or debris from entering pipes or sleeves.

- 3.4	FLUSHING AND TESTING

- Flushing:  After piping, risers, and valves are in place and connected, but prior to installation of sprinkler heads, thoroughly flush piping system under full head of water pressure from dead end fittings. Maintain flushing for 5 minutes through furthermost valves. Cap risers after flushing.

- Testing:  Notify Owner 48 hours in advance of all testing. Conduct tests in presence of Owner’s Representative.

    - After backfilling and installation of control valves, fill pressure supply line with water and pressurize to 40 PSI over the designated static pressure or 120 PSI, whichever is greater, for a period of 2 hours.

    - Leakage, Pressure Loss – Test is acceptable if no leakage or pressure loss is evident during test period.

    - Leaks – Detect and repair all leaks.

    - Retest system until test pressure can be maintained for duration of test.

    - Before final acceptance, test supply line under pressure for a period of 48 hours.

- 3.05	INSPECTION

        - Arrange for Owner’s presence 48 hours in advance of inspection walk-through.

        - Examine areas and conditions under which work of this section if to be performed and ensure a complete and operating installation prior to scheduling a walk-through.

        - Operate each zone in its entirety for Owner at time of walk-through and open all valve boxes as directed.

        - Expose all drip emitters under operations for observation by Owner to demonstrate they are performing and installed as designed prior to placing of mulch material. Schedule separate walk-through as necessary.

        - As necessary Owner will generate a list of items to be corrected prior to Final Acceptance.

        - Furnish all materials and perform all work required to correct inadequacies of installed system.

3.6	RESTORATION AND CLEANING

        - Flush dirt and debris from piping before installing sprinklers and other devices.

        - Adjust automatic control valves to provide flow rate of rated operating pressure required for each sprinkler circuit.

        - Restore all damaged areas to original condition unless otherwise shown on plans at no additional cost to the Project or Owner.

        - Maintain continuous cleaning operation throughout duration of work. Dispose of, off-site, at no additional cost to Project or Owner, all trash or debris generated by installation of irrigation system.

END OF SECTION